## Slide 1
Economy Update in
Chinese Taipei
(AI-Driven Energy Innovation)
The 65th Meeting of the APEC Expert Group on Energy Efficiency and Conservation (EGEEC 65)
17 - 20 November 2025
Directed:
Administrated:

## Slide 2
AI Classification
AI
Industrial Applications
Commercial
Applications
Residential and
Grid Applications
ESCO Industry
Applications
Government
Applications
Conventional AI
(Analysis and Prediction)
Generative AI
(Creative and Generative)
Notes: 來源：
圖表：臺灣2050淨零轉型節能關鍵戰略行動計畫（草案）
能源密集度目標：能源轉型白皮書(2019.11) p.21

## Slide 3
Data Collection
Collect extensive data on equipment operation and building energy consumption
Machine Learning Models
Equipment Power Prediction
Building Thermal Load Prediction
Equipment Fault Prediction
Algorithm Optimization
Equipment Operation Optimization
Fault Early Diagnosis
Conventional AI Overview
https://www.fsp-group.com/imgs/forum/240705-668769EDDE187.jpg

## Slide 4
Applications in Industrial, Commercial, and Residential Grids
Applications of Conventional AI
Process and Equipment
Control Optimization
Refrigeration System
Optimization and
Fault Prediction
Power Consumption
Analysis and
Grid Applications
Algorithmic optimization to maximize efficiency and yield, reducing energy per unit.
Use machine learning models to establish system relationships and optimize overall operation.
Build models to detect equipment anomalies early and reduce maintenance costs.
Already implemented in multiple convenience stores and supermarkets.
Analyze household electricity usage with load monitoring models to improve energy efficiency.
Predict system power flow and load distribution.

## Slide 5
Background of Dyeing and Finishing Processes
Experienced operators adjust fabric speed, airflow, and temperature based on fabric condition and experience.
  Many parameters and site conditions can lead to incorrect settings by new employees, affecting production.
  Operators’ intuitive know-how is hard to quantify and transfer to trainees.
  No unified platform for data management and tracking.
Experienced operators’ know-how
Control
Observe
Database
Fabric In
Work Order Number
Fabric
Weight
Auxiliary Agent
…
Fabric Out
Moisture Content
Shrinkage
…
Observe

## Slide 6
Process Energy-Saving Improvement
AIoT enhanced quality and energy management using key sensors and optimized control, reducing over-drying and rework, validated on four dyeing and finishing lines.
Smart control saved >10% energy, cut rework by 50%, reduced modeling time by 58%, and delivered ~NT$100 million in technical value.
Factory (4 lines) can save ~640,000 kWh/year, Payback Period <2 years, and reduce CO₂ emissions by 354 tons/year.
Sensing
Energy saving
Object
HiRes Sensing
Intelligent control
3.2%
10.1%
4.9%
Before
After
recipe
AIOT
monitoring
modify

## Slide 7
Energy-Saving Control System for Convenience Stores
Open
Refrigerators
Freezers
Smart
Meter
Lighting
HVAC
Energy Consumption Comparison and Efficiency Analysis
Remote Monitoring
Predictive Maintenance for Equipment
Demand Response in Smart Grid Interaction
WiFi
Communication Module
Cloud Server
Equipment
Intelligent Energy-Saving Equipment Control :
Refrigeration
HVAC
Lighting
AI
IoT
EMCS Controller
Combines power data collection, energy-efficient equipment control, and value-added big data services.
Optimal HVAC and refrigeration settings are determined based on environmental changes and past experience to minimize total energy use.
Tests show HVAC and refrigeration daily energy dropped from 794 kWh to 742 kWh, achieving a 6.5% energy reduction.
Over 3,000 FamilyMart stores in Chinese Taipei have been equipped, achieving 5~10% energy savings per store.

## Slide 8
Thank You!

## Slide 9
Model Training
Generates text, code, images, and videos based on user input
Limitations
Generated outputs are not 100% accurate
Requires human verification
Application Types
Large General-Purpose Model (e.g., ChatGPT)
Small, specialized models, typically running locally
Generative AI Overview
https://www.nss.com.tw/wp-content/uploads/2024/09/shutterstock-2510802885-scaled-1024x512.jpg

## Slide 10
Applications in the ESCO Industry and Government Sector
Applications of Generative AI
Employee Training and Workforce Burden Reduction
Energy-Saving Promotion and Expert Models
Scientific and Technological Research
For training new employees in equipment maintenance and operations.
Model deployed at the client side to provide real-time responses to equipment issues.
Generate various promotional materials and videos.
Become an energy-saving expert model, capable of quickly answering questions and generating documents, press releases, and briefing materials.
Propose innovative R&D ideas for generating new material structures.
Applicable to energy-efficient material research, promoting technological innovation.